Building Management Plan (Matrix)

| Date | System/Area | Task Description | Frequency | Responsibility | Applicable Regulations |
| --- | --- | --- | --- | --- | --- |
|  | Fire Alarms | Weekly testing of manual call points and sounders | Weekly | Fire Safety Manager | BS 5839-1, Building Safety Act |
|  | Fire Alarms | Full system inspection and servicing | Annual | Certified Fire Safety Engineer | BS 5839-1, Building Safety Act |
|  | Sprinkler Systems | Testing of sprinkler heads and valves | Monthly | Fire Safety Manager | BS EN 12845 |
|  | Sprinkler Systems | Full system inspection and servicing | Annual | Certified Fire Safety Engineer | BS EN 12845, Building Safety Act |
|  | Fire Doors | Inspection for damage, function, and compliance with fire safety standards | Quarterly | Building Safety Manager | BS EN 1634 |
|  | Waste Storage Areas | Inspect for fire hazards, proper waste segregation, and clearance | Quarterly | Maintenance Team | Environmental Protection Act 1990 |
|  | Cellars | Check for water ingress, ventilation issues, and structural integrity | Quarterly | Structural Engineer | Building Regulations, BS EN 12056 |
|  | Access and Egress Points | Ensure all exits are unobstructed, well-lit, and properly signed | Monthly | Fire Safety Manager | BS 9999, Part M of Building Regulations |
|  | Legionella Risk Management | Temperature checks, flushing, and water sampling to mitigate Legionella risk | Monthly | Certified Water Hygiene Specialist | Control of Substances Hazardous to Health (COSHH) 2002 |
|  | Legionella Risk Management | Comprehensive risk assessment for Legionella | Annual | Water Hygiene Specialist | COSHH, BS 8580 |
|  | Asbestos Management | Annual inspection of asbestos-containing materials (ACMs) | Annual | Asbestos Surveyor | Control of Asbestos Regulations 2012 |
|  | Asbestos Management | Safe removal or encapsulation of ACMs | As Required | Certified Asbestos Contractor | Control of Asbestos Regulations 2012 |
|  | Plant Room | Inspect plant room equipment (boilers, HVAC systems) for safe operation and efficiency | Quarterly | Building Services Engineer | BS EN 378, Building Regulations Part L |
|  | Plant Room | Full servicing of boilers, HVAC systems, and other mechanical equipment | Annual | Certified HVAC Engineer | BS EN 378, Building Regulations Part L |
|  | HVAC Systems | Inspect and clean filters, test system controls | Monthly | HVAC Engineer | BS EN 15241, Building Regulations Part F |
|  | HVAC Systems | Full inspection and servicing of HVAC systems | Annual | HVAC Engineer | BS EN 15241, Building Regulations Part F |
|  | Dry Risers | Visual inspection of inlets, outlets, and valves | Biannual | Fire Safety Manager | BS 9990 |
|  | Dry Risers | Full pressure testing | Annual | Certified Fire Safety Engineer | BS 9990 |
|  | Electrical Systems | Electrical Installation Condition Report (EICR) | Every 5 years | Certified Electrician | BS 7671 (IET Wiring Regulations) |
|  | Electrical Systems | Portable Appliance Testing (PAT) | Annual | Certified Electrician | Electricity at Work Regulations 1989 |
|  | Lift Systems | Inspect lifts for mechanical function and safety | Biannual | Lift Maintenance Engineer | LOLER 1998, PUWER 1998 |
|  | Lift Systems | Full load testing and maintenance | Biannual | Lift Maintenance Engineer | LOLER 1998, PUWER 1998 |
|  | Structural Integrity | Visual inspection of load-bearing elements (walls, columns, etc.) | Annual | Structural Engineer | Eurocodes, Building Safety Act |
|  | Structural Integrity | Full structural safety report | Every 5 years | Structural Engineer | Building Safety Act |

Disclaimer:

This document was created with the assistance of Artificial Intelligence (AI). While the content has been generated and reviewed for accuracy and relevance, it is essential that this document be thoroughly reviewed by a qualified professional before implementation or use. The AI-generated content may require adjustments to ensure it fully aligns with specific legal, regulatory, or organisational requirements. The responsibility for verifying the accuracy and appropriateness of the information contained within this document rests with the user.