Hot Work Permit

| Permit Number: |  | Date Issued: |  |
| --- | --- | --- | --- |
| Permit Valid From: | (Time) | Permit Valid To: | (Time) |
| Issued By (Supervisor): |  | Contractor/Operator Name: |  |
| Location of Hot Work (Building/Area): |  |  |  |
| Description of Work: | ☐ Welding ☐ Cutting ☐ Grinding ☐ Brazing ☐ Soldering ☐ Other: __________ |  |  |

1. Safety Checklist (Pre-Work)

| Fire Risk Controls | Tick | Work Area Preparation | Tick |
| --- | --- | --- | --- |
| Fire extinguisher available (Type: ____________) | ☐ | Hot work area inspected for flammable materials | ☐ |
| Sprinkler system operational | ☐ | Ventilation adequate to prevent fumes/smoke | ☐ |
| Firewatch personnel assigned | ☐ | Surrounding equipment protected or shut down | ☐ |
| Combustible materials removed/covered | ☐ | Floor and wall openings covered | ☐ |
| Floor and wall openings covered | ☐ | Gas detection system active (if applicable) | ☐ |

| Personnel Safety | Tick |
| --- | --- |
| PPE provided (gloves, goggles, helmets, fire-resistant clothing) | ☐ |
| Firewatch assigned for at least 60 minutes post-work | ☐ |
| Hot work operators trained and competent for tasks | ☐ |
| Area secured to prevent unauthorised access | ☐ |

2. Authorisation (Supervisor)

| I certify the above safety precautions are in place for safe hot work. |  |  |
| --- | --- | --- |
| Supervisor’s Name: | ____________________ | Signature: |
| Date: | ____________________ |  |

3. Firewatch & Post-Work Inspection

| Firewatch assigned: | During work ☐ | After work (60 minutes minimum) ☐ |
| --- | --- | --- |
| Post-work firewatch start time: | ___________ (Time) | Finish time: |
| Post-work area inspected by: | ____________________ | Signature: |

4. Final Checks

Has the area been inspected and declared safe post hot work? ☐ Yes ☐ No (Reason: ____________)

5. Permit Close

Permit Closed By:                                           Signature:                                           Date:

Disclaimer:

This document was created with the assistance of Artificial Intelligence (AI). While the content has been generated and reviewed for accuracy and relevance, it is essential that this document be thoroughly reviewed by a qualified professional before implementation or use. The AI-generated content may require adjustments to ensure it fully aligns with specific legal, regulatory, or organisational requirements. The responsibility for verifying the accuracy and appropriateness of the information contained within this document rests with the user.